# Turnlock Side Gate Electric One-Way Handicapped Gate

### Section 11 14 00 – Pedestrian Control Equipment (Gates/Turnstiles)

## PART I – GENERAL

1.01  SECTION INCLUDES

- This section covers the furnishing and installation of a complete one way handicapped gate.  Provide complete system that has been fabricated and tested for proper operation at the factory.  It includes gate frame, door wings, hardware, hydraulic closer unit as required for installation.

1.02  RELATED SECTIONS

- Section 08710 -  Door Hardware

1.03  QUALITY ASSURANCE

- Manufacturer shall be a company specializing in the supply of security gates with a minimum of 10 years experience.

1.04  SUBMITTALS

- Submit project specific shop drawings and finish samples.

- Indicate pertinent dimensions, general construction, component connections and location, anchorage methods and location, hardware, and installation details.

1.05  DELIVERY, STORAGE AND HANDLING

- Deliver material to job site in manufacturer’s packaging undamaged, compete with installation instructions.

- Store off ground, under cover, protected from weather and construction activities.

1.06  PROJECT/SITE CONDITIONS

- Install security gate on the finished floor. Floor must be deal level at any point within the footprint of the turnstile.

1.07  WARRANTY

Boon Edam warranties its products against defects in material and workmanship for a period of twelve (12) months from the date of shipment. This warranty excludes glass breakage, normal wear on finishes or damage that occurs due to abuse, misuse or acts of God.

PART II – PRODUCTS

2.01  MANUFACTURER

Turnlock Side Gate: Electric One-way Handicapped Gate as manufactured by:

Boon Edam Inc., 402 McKinney Parkway, Lillington, NC 27546

(910) 814-3800 Fax: (910) 814-3899 Homepage: www.boonedam.us

2.02  CONSTRUCTION

- The gate frame consists of steel, stainless steel or aluminum tubing welded to a mounting flange at the base. The 24 VDC doorstrike or magnetic lock is recess mounted into the vertical post. A one inch hole for wiring is provided through the mounting flange.

- The gate barrier is fabricated by welding 4 sections of 2” square steel, 1.25” stainless steel or aluminum tubing. Two top and bottom horizontal components are welded to the two side sections. Round steel tubing is welded to the horizontal members to fill in the opening. All welds are ground smooth.

- A stainless steel piano hinge attaches to the gate barrier at the swing side of the frame assembly. This allows free and easy movement of the gate barrier in one direction.

2.03  EQUIPMENT

- A frame is constructed from 2” square and 2” by 8” rectangular 11 gauge steel, stainless steel or aluminum tubing. The frame is 89” high to match the turnstile.

- The gate frame also contains the 24 VDC doorstrike used to lock the gate. Additional locks and exit hardware are available (additional cost). 24 VDC power supply is not included.

- The gate barrier is constructed of 2” square, 11 gauge steel, stainless steel or aluminum tubing with round steel vertical members. The gate barrier is 78-1/2” high and 38” wide. Standard clear opening is 36” with an option to extend to a 48” passage width.

- A hydraulic overhead closer returns the gate swing panel to the locked position after use. Optional motorized closer available upon request(additional cost).

2.04  FINISHES

- Hot dipped galvanized

- Powder coated black. Other colors of powder coating available.

- Aluminum

- # 304 stainless steel

- Clear anodized aluminum frame with clear Lexan filler panel

2.05  OPTIONS

- Motorized closer – Norton 5700 Series

- 24 VDC power supply

- Mesh infill panel

- Panic bar

- Card reader mounting plate

- Remote pushbutton

- Bolt position switch

PART III – EXECUTION

3.01  INSTALLATION

- A level concrete floor is required to ensure proper installation. Recommended depth is at least 4 inches.

- The gate is to be aligned in its proper position prior to any work beginning. A gap of 1/8” to ¼” between the lock section of the gate frame and gate barrier is suggested. Once the gate is aligned, the 2 mounting holes at each mounting flange must be marked on the concrete surface.

- The posts can be installed by using a minimum 3/8/” x 3” wedge anchor for each mounting hole. (Anchors not included)

- Electrical connections are made through the base of the latching post to the door strike or magnetic lock.

- After floor mounting the gate frame needs to be braced at the top to prevent unwanted lateral movement.

- Inspection: Installer must examine the location and advise the Contractor of any site conditions unacceptable for proper installation of product. These conditions include but are not limited to the following:

1. Floor must be deal level at any point within the footprint of the gates.

Install shall not begin until these unacceptable conditions are rectified.

- Erection: Install gates in accordance with manufacturer’s printed instructions. Set units level, plumb and with uniform hairline joints. Anchor securely into place. Use only factory trained installers.

- Adjustment: Installer shall adjust gate, hardware and sensors for smooth operation and proper performance.

- Maintenance: Follow maintenance procedures as outlined in the Instruction or Operation Maintenance Manual.

- Cleaning: Clean metal and glass surfaces carefully after installation to remove excess caulk, dirt and labels.

Boon Edam Inc. reserves the right to change this specification at any time without notice.