SECTION 08 42 33

REVOLVING DOORS

- GENERAL

SECTION INCLUDES

Automatic Revolving doors of the following type:

Curved side walls, tracks, canopy, ceiling, door wings, display cases, hardware, glass, drive systems, sensor systems and emergency collapsing mechanism as required for installation. Complete system fabricated, assembled, and tested for proper operation at the factory. (Duotour Revolving Door.)

RELATED SECTIONS

Section 07915- Sealant, Caulking and Seals

Section 08400- Entrances and Storefronts

Section 087100- Door Hardware

Section 08810- Glass and Glazing

Section 09600- Flooring

Section 16123- Electrical Supply and Termination

REFERENCES

American National Standards Institute (ANSI):

ANSI/BHMA A156.27 – American National Standard for Power and Manual Operated Pedestrian Doors

ANSI Z97.1 - Safety Glazing Material Used in Buildings.

Fenestration & Glazing Industry Association (FGIA)- previously known as the American Architectural Manufacturers Association (AAMA):

AAMA 611- Voluntary Specification for Anodized Architectural Aluminum

AAMA 2604- Voluntary specification, Performance requirements and Test Procedures for High Performance Organic Coatings on Aluminum Extrusion and Panels.

AAMA 2605- Voluntary specification, performance requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels.

American Society for Testing and Materials (ASTM):

ASTM A 36- Standard Specification for Carbon Structural Steel.

ASTM A240- Standard Specification for Chromium and Chromium- Nickle Stainless Steel Plate, and Strip for Pressure Vessels and for General Applications.

ASTM A276- Standard Specification for Stainless Steel Bars and Shapes.

ASTM A 480/A 480M- Standard Specification for General Requirements for Flat Rolled Stainless and Heat-Resisting Steel Plate, Sheet and Strip

ASTM A 666- Standard Specification for Annealed Cold-Worked Austenitic Stainless-Steel Sheet, Strip, Plate, and Flat Bar.

ASTM B 209 – Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate

ASTM B 221- Standard Specification for Aluminum and Aluminum- Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.

ASTM C1048- Standard Specification for Heat-Strengthened & Fully Tempered Flat Glass

ASTM C172- Standard Specification for Laminated Architectural Flat Glass.

ASTM E283 - Standard Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen.

SUBMITTALS

Submit under provisions of Section 01 30 00 - Administrative Requirements.

Product Data: Submit manufacturer's product data sheets, including installation details, material descriptions, dimensions of individual components and profiles, fabrication, operational descriptions and finishes:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Shop Drawings: Submit manufacturer's shop drawings, including pertinent dimensions, general construction, component connections and locations, anchorage methods and locations, hardware and installation details.

Operation and Maintenance Manual: Submit manufacturer's operation and maintenance manual. Include spare parts list.

QUALITY ASSURANCE

Manufacturer's Qualifications:

Specialization in the supply of revolving doors with a minimum of 10 years’ experience.

Factory-Trained supervisor shall be supplied during installation of the revolving door.

Installer's Qualifications:

Locally located factory-trained field service technician shall be provided to competently service revolving door; and to provide for the local support of the customer’s service technicians in the event the customer’s trained technician is not available. In the event there are no service technicians matching the aforementioned description and requirements, the manufacturer, Boon Edam, Inc., is to be utilized for service.

Local certified Boon Edam, Inc. distributor required if not being installed by the manufacturer, Boon Edam, Inc.

Approved by manufacturer.

Single Source Requirements: To the greatest extent possible provide products specified in this section from a single manufacturer.

DELIVERY, STORAGE, AND HANDLING

Delivery: Deliver materials to site protected from damage.

Storage: Store materials in clean, dry area indoors, off-ground in manufacturer's unopened packaging until ready for installation and in accordance with manufacturer's instructions.

Handling: Protect materials and finish from damage during handling and installation.

PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's absolute limits.

Floor must be dead level at any point within the footprint of the revolving door.

Other trades: General Contractor shall advise of any inadequate conditions or equipment

MAINTENANCE SERVICE

The manufacturer shall offer a dispatch procedure that shall be available 24 hours per day, 365 days per year to facilitate proper service capability.

A manufacturer's designated service contact shall obtain malfunction information and dispatch appropriate service provider to project location.

Submission for maintenance service via Boon Edam, Inc. Phone: 910-984-8094 or us.techsupport@boonedam.com

A geographically assigned installation provider shall be trained and certified to provide maintenance service.

COORDINATION AND SCHEDULING

Conference: Convene a pre-installation conference to establish procedures to maintain optimum working conditions and to coordinate this work with related and adjacent work if requested by Owner.

Coordinate sizes and locations of recesses in concrete if applicable.

Field Measurements: Verify actual dimensions of openings to receive revolving door entrances by field measurements before fabrication and indicate on shop drawings.

WARRANTY

Warranty: Provide manufacturer's standard warranty against defects in materials and workmanship. Warranty shall be one year from date of installation.

Warranty Period: 1 year (12 Months)

During the warranty period a factory-trained technician shall perform service and affect repairs. A safety inspection shall be performed after each adjustment or repair and a completed inspection form shall be submitted to the Owner.

The Warranty excludes glass breakage, normal wear on finishes or damage that occurs due to abuse, misuse or acts of God.

- PRODUCTS

MANUFACTURERS

Acceptable Manufacturer: Boon Edam, Inc. 402 McKinney Parkway, Lillington NC 27546. (910) 814-3800 Fax: (910) 814-3889  Website: www.boonedam.us

Requests for substitutions will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.

REVOLVING ENTRANCE DOORS

Automatic Revolving Door: Duotour Automatic Revolving Door Model DT as manufactured by Boon Edam, Inc.

Door Construction:

Curved side walls shall be manufactured from six (6) extruded aluminum posts and three (3) extruded bottom rails.

Two doors hall be 1 ¾” wide aluminum extrusions and reinforced corners for strength. Door wings must utilize removable weatherstripping on all four sides. Double acting doors are held in position with non-jamming electromagnetic locks. Upon release by door controls, or building fire/smoke alarm, door must be capable of folding forward or backward to allow for emergency egress.

A pair of bi-parting automatic sliding doors constructed as in Section 2.03D.

Ceiling shall be fabricated of formed aluminum sheet in a pie-shaped configuration. Each section must be secured in position and removable only by authorized personnel.

Equipment

Perimeter- mounted drive system consisting of two (2) 1/3 HP asynchronous AC motors attached to 6” wheels mounted to the internal rotating wing. The door shall be powered by a 200—230 VAC, 1-phase service. The motor shall be connected to a Frequency Controller to provide for the following characteristics: Adjustment of rotation speed through digital setting, Adjustment of slow rotation speed through digital setting, Intelligent Speed variation, constant monitoring and regulation of rotation speed, independent adjustment of start up and run torque digital settings, and adjustment of stopping distance through a digital setting to minimize force required to stop the door.

A UPS battery backup system is included to provide rotation to an egress position upon power failure. The drive system shall allow for manual rotation in the instance of complete power failure. The drive system shall allow for manual rotation in the instance of complete power failure.

Positive breaking and stopping shall be performed by DC dynamic breaking incorporated into the drive system. Other auxiliary disc brakes are not considered t be equal

Microprocessor-based electronics utilizing a 32,000 step Programmable Logic Controller (PLC) with the following characteristics: RAM & ROM memory, self-diagnostics for quick detection of problem source, and visual display of problem source.

Provide 110-230VAC 9W LED recessed into the ceiling. Coordination of a 120-230 VAC power source required (Not provided by Boon Edam, Inc.)

Provide a fail-safe electromagnetic locking device incorporated within two drive system motors to prevent rotation of the door when the three (3) position post-mounted key switch is set in the locked position. Electric locking is disengaged by loss of power or signal from building fire/smoke alarm.

Safety:

P.I.R Detectors: The drive is activated by means of passive infra-red motion detectors, integrated in the soffit of the Duotour above the day openings. After activation the doorset will rotate at least 2 segments at normal speed after which the doorset will slow down and reaches its rest position (if not activated meanwhile).

Recessed H.B.S (Horizontal Boon Sensor): Six (6) infrared beam systems mounted on the front of the collapsible or sliding doors and showcases.  The door slows down when the higher beam sets are activated.  The door will stop immediately when a person or object activates the lower beam sets.

E.B.S. (Endwall Buffer Sensors): Two (2) active infrared sensors mounted in front of the fixed curved sidewalls that will detect presence in front of the curved sidewalls and stop the rotation of the door immediately.  The EBS-sensors should be capable of switching on as each door wing approaches the end post of the sidewall and off as each door wing departs the end post of each sidewall.

Rotating E.B.S. (Endwall Buffer Sensors): Two (2) active infrared sensors with background suppression, mounted in front of the curved rotating sidewalls that will detect presence and stop the rotation of the door immediately.

S.R.B. (Safety Rail Bentwall): Two (2) multi-directional, closed-contact pressure sensitive switches contained within a black rubber profile mounted to the edge of each inbound end post that will immediately stop the door’s rotation immediately if compressed.

Rotating S.R.T. (Safety Rail Turningwall): Two (2) multi-directional, closed-contact pressure sensitive switches contained within a black rubber profile mounted to the lead edge of each rotating wall that will immediately stop the door’s rotation if compressed.

S.R.D. (Safety Rail Doorwing): Four (4) multi-directional, closed-contact pressure sensitive switches contained within a black rubber profile mounted to the bottom rail of each display case and double acting door wing that will immediately stop the door’s rotation if compressed.

S.B.S. (Showcase Boon Sensor): Two (2) Synchronized Ultra-sonic sensors mounted under the rotating S.R.B.s that will detect presence and stop the rotation of the door.

Hold open presence sensor: Two (2) Micro-processor Controlled Active infra-red sensors mounted under the ceiling disc that will detect presence and prevent the sliding doors from closing. Only available on the sliding door package.

Push To Slow Button: Two (2) “Push to Slow” Buttons mounted on the inbound end posts that will reduce the rotating speed of the revolving door for approximately one revolution.

Emergency Stop Button: Two (2) Emergency Stop Buttons mounted on the inbound end posts that will immediately stop the door when pressed.

Key-Switch: Provide a post-mounted key switch that will allow for the following options if approved by Authority having jurisdiction (AHJ):

- On/Off

- Lock the door in winter position

- Start the door from summer - or winter position

- Turn the revolving door off and the sliding doors on (Requires the optional sliding  door package)

Materials:

All flat glass in door wings shall be 1/4” clear tempered safety glass. All curved glass in sidewalls shall be clear ¼” clear bent tempered safety glass. All glass shall meet ANSI standard Z 97.1

All aluminum/extrusions shall be commercial grade aluminum alloy 6063-T6 per ASTM B-221.

All aluminum sheets to meet ASTM B-209 and be of .063 minimum thicknesses.

Provide weatherstripping on all required edges to permit for a seal that meets ASTM E-283.

All glass to be sealed with push in glazing vinyl.

Finish:

Anodized Coatings:

- AAMA 611 Architectural Class 1 Clear anodized Type AA-M10C22 A41

- EXECUTION

PREPARATION

Installer must examine the location and advise the Contractor of any site conditions unacceptable for proper installation of product. The minimum conditions necessary to initiate installation are:

Floor must be dead level at any point within the footprint of the door.

Finished floor matwell trim not yet installed.

Power supply (110-240VAC) must be installed.

INSTALLATION

    - Install revolving doors in accordance with manufacturer’s printed instructions. Set unis level, plumb, and with uniform hairline joints. Anchor securely in place. Use only factory trained installers.

FIELD QUALITY CONTROL

Manufacturer's Field Services:

Manufacturer's representative shall provide technical assistance and guidance for installation of the Duotour Revolving Door.

ADJUSTING

    - Installer shall adjust door, hardware and sensors for smooth operation and proper performance.

DEMONSTRATION AND TRAINING

    - A factory-trained installer shall demonstrate to the Owner’s maintenance crew the proper operation of the Duotour Revolving Door and the necessary service requirements such as lubrication, cleaning, and inspection of components upon completion of installation.

CLEANING AND PROTECTION

    - Clean metal and glass surfaces carefully after installation in accordance with manufacturer’s instructions.

END OF SECTION